## Slide 1: Antibiotic Susceptibility Testing
Kirby-Bauer Disk Diffusion Method

## Slide 2: Types of Antibiotics
1. Cell wall synthesis inhibitors: Penicillin, Cephalosporins
2. Protein synthesis inhibitors: Tetracycline, Macrolides, Aminoglycosides
3. DNA/RNA synthesis inhibitors: Fluoroquinolones, Rifamycin
4. Metabolic pathway inhibitors: Sulfonamides, Trimethoprim

## Slide 3: Kirby-Bauer Method Overview
• Determines bacterial susceptibility to antibiotics.
• Disks release antibiotics into agar; bacteria grow around if not inhibited.
• Zone of inhibition indicates effectiveness.
• Categorizes response as Susceptible, Intermediate, or Resistant.

## Slide 4: Disk Diffusion Protocol Summary
• Standardize bacterial culture (0.5 McFarland).
• Inoculate Mueller Hinton Agar evenly.
• Place antibiotic disks ≥25 mm apart.
• Incubate at 37°C for 16–24 hours.
• Measure zones of inhibition (mm).

## Slide 5: Interpreting Results
• Measure inhibition zones with a ruler.
• Use CLSI charts to classify as:
- Susceptible (S)
- Intermediate (I)
- Resistant (R)
• Report findings using standardized tables.